## Feuil1
| 1376 | [79 empty] | 82 | [5 empty] | 88 | [71 empty] | 160
view |  |  |  |  | DC;SE;DB | SE;DC | SE;DC | SE;DC | SE;DC |  | DC;SE;PLC;HW | DC;SE;PLC;HW | DC;SE;PLC;HW | DC;SE;PLC;HW | DC;PLC;FEP;SE | DB;PLC;FEP;SE;HMI |  | DC;PLC;FEP;SE;HW | DB;FEP;SE;HMI |  |  |  | DC;PLC;FEP;SE;HW | DB;PLC;FEP;SE;HMI | DC;DB;SE;HMI | DC;SE | DC;DB;SE;HMI | DB;SE |  |  |  | DB |  |  |  | DB |  |  |  | DB |  |  |  | DB |  |  |  | DB |  |  |  | DB |  |  |  | DB |  |  |  | DB |  |  | DC;SE;DB | DC;SE;DB | DC;SE;DB | DC;SE | DC;SE | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | DB | SE;DB | SE;DB | SE;DB | SE;DB | DB | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | DB | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | DB | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | DB | SE;DB | SE;DB | SE;DB | SE;DB | SE;DB | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | hide | SE;DB | SE;DB | SE;DB | SE;DB | hide | hide | SE;HMI;DB | hide;DB | SE;DB | SE;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | SE;HMI;DB | HMI | SE;HMI;DB | SE;HMI | SE;HMI | DB | DB | DB;FEP | DB;IVVQ | DB | DB;HMI;IVVQ | DB;IVVQ | DB;IVVQ | DB;IVVQ | DB | DB | DB;SE | DB;SE | SE;DB;IVVQ | DB | DB | SE;DB;IVVQ;FEP | SE;DB;IVVQ | SE;DB;IVVQ | SE;DB;IVVQ | SE;DB;IVVQ | SE;DB |  | DB;FEP | DB;FEP | DB;FEP | DB | SE;DB;IVVQ;FEP | DB;SE;FEP;PLC | SE;DB | SE;DB | SE;DB | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | SE;PLC;HW;DC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | PLC | DC;SE;FEP | DC;SE;FEP | DC;SE;FEP | DC;SE;FEP | DC;SE;FEP | DC;SE;FEP | DC;SE;FEP | DC;SE;FEP | FEP | FEP | FEP | FEP | FEP | FEP | [10 empty] | IVVQ | IVVQ | IVVQ | IVVQ
rules |  | LimitList:A/D/M/I |  |  | FLEN:3 | [10 empty] | FLEN:3 | FLEN:4 |  | MLEN:40;GI | MLEN:15 |  |  | GU | MLEN:30 | MLEN:6 |  | isNUM | isINT | MLEN:20 | isINT | MLEN:1 | isINT | MLEN:20 | isINT | MLEN:1 | isINT | MLEN:20 | isINT | MLEN:1 | isINT | MLEN:20 | isINT | MLEN:1 | isINT | MLEN:20 | isINT | MLEN:1 | isINT | MLEN:20 | isINT | MLEN:1 | isINT | MLEN:20 | isINT | MLEN:1 | isINT | MLEN:20 | isINT | MLEN:1 | isINT |  | isINT | isBoolean |  |  | isNUM | isNUM |  |  |  |  | isINT | isINT | isINT | isINT |  |  |  | isINT | isINT | [50 empty] | isNUM | isNUM | [7 empty] | LimitList:1/2/3 |  |  |  |  | LimitList:Ack/AckLog/AckHdv/AckUcs | [5 empty] | FormatSchematic;GI | FormatSchematic | FormatSchematic |  | GI |  | GU |  |  |  | GU | [8 empty] | GU | nonZERO | isNUM |  | isNUM | isNUM | [5 empty] | MLEN:80
class/list | [15 empty] | class | class | [5 empty] | class | class | class | class | class | class | class | class | class | byclass | class | class | class | byclass | class | class | class | byclass | class | class | class | byclass | class | class | class | byclass | class | class | class | byclass | class | class | class | byclass | class | class | class | byclass | class | class | [13 empty] | byclass | byclass | byclass | byclass | byclass | class | class | byclass | byclass |  |  | class | class | byclass | byclass |  |  | class | class | byclass | byclass |  |  | class | class | byclass | byclass |  |  | class | class | byclass | byclass |  |  | class | class | byclass | byclass |  |  | class | class | byclass | byclass |  |  | class | class | byclass | byclass |  |  | class | class | class | class | class | class | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass | byclass |  |  |  |  | class | class | class | class |  |  | class | class | byclass | [8 empty] | byclass | byclass | byclass
PIC |  |  |  |  | DC | DC | DC | DC | DC |  | DC | DC | DC | DC | DC | SE | SE | DC | SE | DC | DC |  | DC | SE | SE | DC | SE | SE | DC | DC | SE | SE | DC | DC | SE | SE | DC | DC | SE | SE | DC | DC | SE | SE | DC | DC | SE | SE | DC | DC | SE | SE | DC | DC | SE | SE | DC | DC | SE | SE |  |  | DC;SE | DC;SE | DC;SE | DC | DC | SE | SE | SE | SE | SE | SE | SE | SE | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | SE | SE | SE | SE | SE | DB | DB | SE | SE | DB | DB | SE | DB | SE | SE | SE | SE | SE | SE | SE | SE | SE | SE;SW | SE;SW | SE | SE | HMI | HMI | HMI | HMI | DB | DB | DB | DB | DB | DB | SE;DB | SE;DB | SE;DB | SE;DB |  |  |  | SE;DB | DB | DB | DB | SE | SE | DB | SE | DB | DB | DB | DB | DB | DB |  | SE | DB | DB | DB | DC | DC | DC | DC | DC | DC | DC | DC | DC | DC | [19 empty] | DC | DC | DC | DC | DC | DC | DC | DC | FEP | FEP | FEP | FEP | FEP | FEP | [10 empty] | IVVQ | IVVQ | IVVQ | IVVQ
row_no. | Version_Control |  |  |  | Equipment_Geographical_information |  |  |  |  | Interface_Geographical_Information |  |  |  |  | Equipment_Information | [7 empty] | Attribute_Information(Internal_Variable,IV) | [5 empty] | Discrete_Type_Meanings-Alarm/Event[DI]/Control[DO] | [33 empty] | DC: Analogue_Type_Meanings_Alarm/Event[AI]; SE: General_Control_Requirements; DB: Control_Requirements[DO]; DB: Control_Requirements[AO]; DB: Control_Requirements[SO]; SE: Display_Format; SE: SCADA_Functional_Requirement; HMI: HMI_Drawing_Schematic; DB: SCADAsoft_Database |  | WebHMI |  | SCADAsoft_DAC | [15 empty] | RTDB_Computed_Variable |  |  | Hardwire_Information | [9 empty] | PLC_Information | [16 empty] | IBP_Information |  | DC_Addressing | [7 empty] | FEP_Addressing | [5 empty] | Optional1 | Optional2 | Optional3 | Optional4 | Optional5 | Optional6 | Optional7 | Optional8 | Optional9 | Optional10 | T&C
# | IO_Version | A/M/D/I | ChkResult_Class-List | ChkResult_SelfValidate | Station_Code | Equipment_Location | EQPT_Location_Level | EQPT_Drawing_Ref. | EQPT_Grid_Ref. | Interface_ID | INTF_Location | INTF_Location_Level | INTF_Drawing_Ref | INTF_Grid_Ref | System | (Sub)System | Eqpt_Code | Eqpt_Description | Eqpt_Description(MCS) | Eqpt_Identifier | Eqpt_Identifier_(non-Alphanumeric) | Others | Attribute_Description | Attribute_Description(MCS) | unit | DC_Data_Type | HMI_Accuracy | HMI_Order | v0_label(0) | v0_Severity | v0_State | v0_Format | v1_label(1) | v1_Severity | v1_State | v1_Format | v2_label(10) | v2_Severity | v2_State | v2_Format | v3_label(11) | v3_Severity | v3_State | v3_Format | v4_label(100) | v4_Severity | v4_State | v4_Format | v5_label(101) | v5_Severity | v5_State | v5_Format | v6_label(110) | v6_Severity | v6_State | v6_Format | v7_label(111) | v7_Severity | v7_State | v7_Format | Other_bits_meanings | Transition_Interval_(sec) | Normal_State_Enable | NormalValue test | NormalDescription | Meaningful_Min_value | Meaningful_Max_value | Value_Out_of_Range_LOW(i) | Value_LOWER_Limit(ii) | Value_UPPER_Limit(iii) | Value_Out_of_Range_HIGH(iv) | Severity_of_Range[x<=(i)] | Severity_of_Range[(i)<x<=(ii)] | Severity_of_Range[(iii)<x<=(iv)] | Severity_of_Range[(iv)<x] | AI_Alarm_format | Initial_Condition(s)_before_Ctl | Return_Condition(s)_after_Ctl | initCond_TO | ReturnCond_TO | v0_dov_name | v0_CtlVal | v0_InitCond_class | v0_ReturnCond_class | v0_InitCond_Inst | v0_ReturnCond_Inst | v1_dov_name | v1_CtlVal | v1_InitCond | v1_ReturnCond | v1_InitCond_Inst | v1_ReturnCond_Inst | v2_dov_name | v2_CtlVal | v2_InitCond | v2_ReturnCond | v2_InitCond_Inst | v2_ReturnCond_Inst | v3_dov_name | v3_CtlVal | v3_InitCond | v3_ReturnCond | v3_InitCond_Inst | v3_ReturnCond_Inst | v4_dov_name | v4_CtlVal | v4_InitCond | v4_ReturnCond | v4_InitCond_Inst | v4_ReturnCond_Inst | v5_dov_name | v5_CtlVal | v5_InitCond | v5_ReturnCond | v5_InitCond_Inst | v5_ReturnCond_Inst | v6_dov_name | v6_CtlVal | v6_InitCond | v6_ReturnCond | v6_InitCond_Inst | v6_ReturnCond_Inst | v7_dov_name | v7_CtlVal | v7_InitCond | v7_ReturnCond | v7_InitCond_Inst | v7_ReturnCond_Inst | AO_Init_Condition_CE | AO_Return_Condition_CE | AO_Lower_limit | AO_Upper_limit | SO_Init_Condition_CE | SO_Return_Condition_CE | Specific_Display_Format | computedMessage_CE | DBMS_ReportType | DBMS_CBType | Archive_name | Alarm_CE_Behaviour | theme | HmiCondition | SOE_DAL | ValueAutomaton | AckAutomaton | hdvFlag | hdvValue | UserField1 | UserField2 | Sub-Image | Schematic_Path_1 | Schematic_Path_2 | Schematic_Path_3 | CFG_Equipment_Class | CFG_timestampSelection | CFG_Data_Type | IV_Point_Name | CFG_INST_ID | CFG_INST_ALIAS | Combined_IVPoint_name | Individual_identifier_of_combine | Combine_Type | CFG_POLE | DB_Comment | HV_ID | PROTOTYPE | EV_Concentrator | EV_Group | EV_Type | EV_Name | DAC_Scaling_Factor | DAC_Offset_Factor | Transformation_Function | deadband | VE_length | SCADA_Address | varInvalid1 | varInvalid2 | varInvalid3 | CFG_EV_ID | Chatter_Filter_Algo | DAC_Comment | xco_computed_value | xco_computed_status | xco_computed_date | Cable_ID | Cable_Ferrules | Cubicle_ID | TB_ID | Terminal(Signal/+ve) | Terminal(Common/-ve) | Min_Electrical_Range | Max_Electrical_Range | Relay_ID | Relay_Desc | PLC_ref_ID | PLC_Controller_Name | RIO_No | I/O_Module | PLC_IO_TYPE | Slot_Number | I/O_Point | I/O_Terminal | PLC_Address | MCS_Comm_Buffer | MCS_Comm Buffer_Index | MCS_Comm Buffer_Bit | MCS_Comm Buffer_Size | PLC_Scaling_Factor | PLC_Offset_Factor | PLC_DO_TYPE | PLC_Comment | IBP_Display_Label | IBP_Comment | Device_Address | DC_IO_Type | Function_Code | Register_Address/File | Bit_offset | DC_Addr_Size | Unit_size | DC_Comment | swc_id | table_id | start_byte | start_bit | FEP_addr_size | FEP_Comment | Extra_Information_1 | Extra_Information_2 | Extra_Information_3 | Extra_Information_4 | Extra_Information_5 | Extra_Information_6 | Extra_Information_7 | Extra_Information_8 | Extra_Information_9 | Extra_Information_10 | Test_ID | P2P_Result | E2E_Result | T&C_Comment
16 | A-7-3 | M |  |  | CUD | Staff Toilet / Female Staff Locker Room (1120) / Male Staff Locker Room (1119) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-01 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0001; DB: <alias>CUDECSEXAF0001 |  | OCC_CUDECSEXAF0001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0001-PTW |  |  |  | 0 |  | 048/002/00000/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0001-PTW | [35 empty] | DO | 0x0F | 4 | 0 | 1 |  |  | 48 | 002 | 0 | 4 | 1 |  |  | AS001
33 | A-7-3 | M |  |  | CUD | Toilet (1102) / Ambulant Toilet (1104) / Accessible Toilet (1106) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-02 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0002; DB: <alias>CUDECSEXAF0002 |  | OCC_CUDECSEXAF0002 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0002-PTW |  |  |  | 0 |  | 048/002/00001/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0002-PTW | [35 empty] | DO | 0x0F | 12 | 0 | 1 |  |  | 48 | 002 | 1 | 4 | 1 |  |  | AS001
50 | A-7-3 | M |  |  | CUD | Toilet (1102) / Ambulant Toilet (1104) / Accessible Toilet (1106) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-03 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0003; DB: <alias>CUDECSEXAF0003 |  | OCC_CUDECSEXAF0003 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0003-PTW |  |  |  | 0 |  | 048/002/00002/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0003-PTW | [35 empty] | DO | 0x0F | 20 | 0 | 1 |  |  | 48 | 002 | 2 | 4 | 1 |  |  | AS001
67 | A-7-3 | M |  |  | CUD | Staff Toilet (1121) / Parents Room (1107) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-04 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0004; DB: <alias>CUDECSEXAF0004 |  | OCC_CUDECSEXAF0004 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0004-PTW |  |  |  | 0 |  | 048/002/00003/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0004-PTW | [35 empty] | DO | 0x0F | 28 | 0 | 1 |  |  | 48 | 002 | 3 | 4 | 1 |  |  | AS001
84 | A-7-3 | M |  |  | CUD | Mess Room (1118) / Maintenance Store (1131) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-08 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0005; DB: <alias>CUDECSEXAF0005 |  | OCC_CUDECSEXAF0005 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0005-PTW |  |  |  | 0 |  | 048/002/00005/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0005-PTW | [35 empty] | DO | 0x0F | 44 | 0 | 1 |  |  | 48 | 002 | 5 | 4 | 1 |  |  | AS001
101 | A-7-3 | M |  |  | CUD | Refuse Store (1127) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-06 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0006; DB: <alias>CUDECSEXAF0006 |  | OCC_CUDECSEXAF0006 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0006-PTW |  |  |  | 0 |  | 048/002/00004/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0006-PTW | [35 empty] | DO | 0x0F | 38 | 0 | 1 |  |  | 48 | 002 | 4 | 6 | 1 |  |  | AS001
127 | A-7-3 | M |  |  | CUD | Mess Room (1118) via FCU-CUD-CL-03 / Maintenance Office (1130) / Corridor |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | OSAF | Outside Air Fan | Outside Air Fan | OAF-CL-01 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAF0001; DB: <alias>CUDECSOSAF0001 |  | OCC_CUDECSOSAF0001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAF0001-PTW |  |  |  | 0 |  | 048/002/00007/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAF0001-PTW | [35 empty] | DO | 0x0F | 60 | 0 | 1 |  |  | 48 | 002 | 7 | 4 | 1 |  |  | AS001
146 | A-7-3 | M |  |  | CUD | Station Management Room (1116) via FCU-CUD-CL-01 and FCU-CUD-CL-02 |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | OSAF | Outside Air Fan | Outside Air Fan | OAF-CL-02 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAF0002; DB: <alias>CUDECSOSAF0002 |  | OCC_CUDECSOSAF0002 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAF0002-PTW |  |  |  | 0 |  | 048/002/00008/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAF0002-PTW | [35 empty] | DO | 0x0F | 68 | 0 | 1 |  |  | 48 | 002 | 8 | 4 | 1 |  |  | AS001
165 | A-7-3 | M |  |  | CUD | Male Staff Locker Room (1119) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-CL-01 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_WAMU; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:WAMU0001; DB: <alias>CUDECSWAMU0001 |  | OCC_CUDECSWAMU0001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0001-PTW |  |  |  | 0 |  | 048/002/00009/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0001-PTW | [35 empty] | DO | 0x0F | 76 | 0 | 1 |  |  | 48 | 002 | 9 | 4 | 1 |  |  | AS001
187 | A-7-3 | M |  |  | CUD | Female Staff Locker Room (1120) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-CL-02 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_WAMU; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:WAMU0002; DB: <alias>CUDECSWAMU0002 |  | OCC_CUDECSWAMU0002 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0002-PTW |  |  |  | 0 |  | 048/002/00010/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0002-PTW | [35 empty] | DO | 0x0F | 84 | 0 | 1 |  |  | 48 | 002 | 10 | 4 | 1 |  |  | AS001
209 | A-7-3 | M |  |  | CUD | Maintenance Office (1130) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-CL-03 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_WAMU; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:WAMU0003; DB: <alias>CUDECSWAMU0003 |  | OCC_CUDECSWAMU0003 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0003-PTW |  |  |  | 0 |  | 048/002/00011/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0003-PTW | [35 empty] | DO | 0x0F | 92 | 0 | 1 |  |  | 48 | 002 | 11 | 4 | 1 |  |  | AS001
231 | A-7-3 | M |  |  | CUD | Mess Room (1118) |  |  |  |  | CUD2-SBML1E-AS001 |  |  |  | BMS | ECS | FCUC | FCU Cassette | FCU Cassette | FCU-CL-03 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=0),1,0); DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_FCUC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:FCUC0001; DB: <alias>CUDECSFCUC0001 |  | OCC_CUDECSFCUC0001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSFCUC0001-PTW |  |  |  | 0 |  | 048/002/00006/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoFCUC0001-PTW | [35 empty] | DO | 0x0F | 54 | 0 | 1 |  |  | 48 | 002 | 6 | 6 | 1 |  |  | AS001
254 | A-7-3 | M |  |  | CUD | [5 empty] | CUD2-SBML1E-AS001 |  |  |  | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-01 |  |  | PTW Command | PTW Command |  | DO |  | 11 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Services/Security; DB: SEC_SHUT; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:SEC:SHUT0001; DB: <alias>CUDSECSHUT0001 |  | OCC_CUDSECSHUT0001 |  | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0001-PTW |  |  |  | 0 |  | 048/002/00012/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0001-PTW | [35 empty] | DO | 0x0F | 98 | 0 | 1 |  |  | 48 | 002 | 12 | 2 | 1 |  |  | AS001
255 | A-7-0 | M |  |  | CUD | [5 empty] | CUD2-SBML1E-AS001 |  |  |  | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-01 |  |  | Close Command | Close Command |  | DO |  | 9 |  |  |  |  | Close | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Services/Security; DB: SEC_SHUT; DB: DO; DB: dioBMS-CLSCOM; DB: :R:A:CUD:SEC:SHUT0001; DB: <alias>CUDSECSHUT0001 |  | OCC_CUDSECSHUT0001 |  | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0001-CLSCOM |  |  |  | 0 |  | 048/002/00012/3/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0001-CLSCOM | [35 empty] | DO | 0x0F | 99 | 0 | 1 |  |  | 48 | 002 | 12 | 3 | 1 |  | Y | AS001
258 | A-7-0 | M |  |  | CUD | [5 empty] | CUD2-SBML1E-AS001 |  |  |  | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-01 |  |  | Open Command | Open Command |  | DO |  | 10 |  |  |  |  | Open | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Services/Security; DB: SEC_SHUT; DB: DO; DB: dioBMS-OPNCOM; DB: :R:A:CUD:SEC:SHUT0001; DB: <alias>CUDSECSHUT0001 |  | OCC_CUDSECSHUT0001 |  | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0001-OPNCOM |  |  |  | 0 |  | 048/002/00012/5/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0001-OPNCOM | [35 empty] | DO | 0x0F | 101 | 0 | 1 |  |  | 48 | 002 | 12 | 5 | 1 |  | Y | AS001
279 | A-7-3 | M |  |  | CUD | Signalling Equipment Room (1303) |  |  |  |  | CUD2-SBML2P-AS002 |  |  |  | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-01 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_CRAC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:CRAC0001; DB: <alias>CUDECSCRAC0001 |  | OCC_CUDECSCRAC0001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0001-PTW |  |  |  | 0 |  | 049/002/00000/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0001-PTW | [35 empty] | DO | 0x0F | 4 | 0 | 1 |  |  | 49 | 002 | 0 | 4 | 1 |  |  | AS002
301 | A-7-3 | M |  |  | CUD | Signalling Equipment Room (1303) |  |  |  |  | CUD2-SBML2P-AS002 |  |  |  | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-02 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_CRAC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:CRAC0002; DB: <alias>CUDECSCRAC0002 |  | OCC_CUDECSCRAC0002 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0002-PTW |  |  |  | 0 |  | 049/002/00001/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0002-PTW | [35 empty] | DO | 0x0F | 12 | 0 | 1 |  |  | 49 | 002 | 1 | 4 | 1 |  |  | AS002
320 | A-7-3 | M |  |  | CUD | Platform Edge Barrier Room (1413) |  |  |  |  | CUD2-SBML2P-AS002 |  |  |  | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-01 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_WAMU; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:WAMU0004; DB: <alias>CUDECSWAMU0004 |  | OCC_CUDECSWAMU0004 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0004-PTW |  |  |  | 0 |  | 049/002/00002/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0004-PTW | [35 empty] | DO | 0x0F | 20 | 0 | 1 |  |  | 49 | 002 | 2 | 4 | 1 |  |  | AS002
342 | A-7-3 | M |  |  | CUD | SER (1303) / PEB (1413) |  |  |  |  | CUD2-SBML2P-AS002 |  |  |  | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-07 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAV0001; DB: <alias>CUDECSEXAV0001 |  | OCC_CUDECSEXAV0001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0001-PTW |  |  |  | 0 |  | 049/002/00003/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0001-PTW | [35 empty] | DO | 0x0F | 28 | 0 | 1 |  |  | 49 | 002 | 3 | 4 | 1 |  |  | AS002
361 | A-7-3 | M |  |  | CUD | Cable Termination Room (1421) |  |  |  |  | CUD2-SBML2P-AS002 |  |  |  | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-08 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAV0002; DB: <alias>CUDECSEXAV0002 |  | OCC_CUDECSEXAV0002 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0002-PTW |  |  |  | 0 |  | 049/002/00004/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0002-PTW | [35 empty] | DO | 0x0F | 36 | 0 | 1 |  |  | 49 | 002 | 4 | 4 | 1 |  |  | AS002
380 | A-7-3 | M |  |  | CUD | Cable Termination Room (1422) |  |  |  |  | CUD2-SBML2P-AS002 |  |  |  | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-09 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAV0003; DB: <alias>CUDECSEXAV0003 |  | OCC_CUDECSEXAV0003 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0003-PTW |  |  |  | 0 |  | 049/002/00005/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0003-PTW | [35 empty] | DO | 0x0F | 44 | 0 | 1 |  |  | 49 | 002 | 5 | 4 | 1 |  |  | AS002
399 | A-7-3 | M |  |  | CUD | Transformer Room (3403) |  |  |  |  | CUD2-SBML2P-AS002 |  |  |  | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-07 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAV0001; DB: <alias>CUDECSOSAV0001 |  | OCC_CUDECSOSAV0001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0001-PTW |  |  |  | 0 |  | 049/002/00006/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0001-PTW | [35 empty] | DO | 0x0F | 54 | 0 | 1 |  |  | 49 | 002 | 6 | 6 | 1 |  |  | AS002
425 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 |  |  | Down Command | Down Command |  | DO |  | 14 |  |  |  |  | Down | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-DNCOM; DB: :R:A:CUD:ESC:ESCA0001; DB: <alias>CUDESCESCA0001 |  | OCC_CUDESCESCA0001 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-DNCOM |  |  |  | 0 |  | 053/002/00009/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-DNCOM | [35 empty] | DO | 0x0F | 74 | 0 | 1 |  |  | 53 | 002 | 9 | 2 | 1 |  | Y | AS006
428 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 |  |  | Stop Command | Stop Command |  | DO |  | 16 |  |  |  |  | Stop | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-STPCOM; DB: :R:A:CUD:ESC:ESCA0001; DB: <alias>CUDESCESCA0001 |  | OCC_CUDESCESCA0001 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-STPCOM |  |  |  | 0 |  | 053/002/00009/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-STPCOM | [35 empty] | DO | 0x0F | 76 | 0 | 1 |  |  | 53 | 002 | 9 | 4 | 1 |  | Y | AS006
431 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 |  |  | Up Command | Up Command |  | DO |  | 15 |  |  |  |  | Up | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-UPCOM; DB: :R:A:CUD:ESC:ESCA0001; DB: <alias>CUDESCESCA0001 |  | OCC_CUDESCESCA0001 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-UPCOM |  |  |  | 0 |  | 053/002/00009/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-UPCOM | [35 empty] | DO | 0x0F | 78 | 0 | 1 |  |  | 53 | 002 | 9 | 6 | 1 |  | Y | AS006
434 | A-7-3 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 |  |  | PTW Command | PTW Command |  | DO |  | 17 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ESC:ESCA0001; DB: <alias>CUDESCESCA0001 |  | OCC_CUDESCESCA0001 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-PTW |  |  |  | 0 |  | 053/002/00010/0/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-PTW | [35 empty] | DO | 0x0F | 80 | 0 | 1 |  |  | 53 | 002 | 10 | 0 | 1 |  |  | AS006
450 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 |  |  | Down Command | Down Command |  | DO |  | 14 |  |  |  |  | Down | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-DNCOM; DB: :R:A:CUD:ESC:ESCA0002; DB: <alias>CUDESCESCA0002 |  | OCC_CUDESCESCA0002 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-DNCOM |  |  |  | 0 |  | 053/002/00011/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-DNCOM | [35 empty] | DO | 0x0F | 90 | 0 | 1 |  |  | 53 | 002 | 11 | 2 | 1 |  | Y | AS006
453 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 |  |  | Stop Command | Stop Command |  | DO |  | 16 |  |  |  |  | Stop | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-STPCOM; DB: :R:A:CUD:ESC:ESCA0002; DB: <alias>CUDESCESCA0002 |  | OCC_CUDESCESCA0002 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-STPCOM |  |  |  | 0 |  | 053/002/00011/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-STPCOM | [35 empty] | DO | 0x0F | 92 | 0 | 1 |  |  | 53 | 002 | 11 | 4 | 1 |  | Y | AS006
456 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 |  |  | Up Command | Up Command |  | DO |  | 15 |  |  |  |  | Up | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-UPCOM; DB: :R:A:CUD:ESC:ESCA0002; DB: <alias>CUDESCESCA0002 |  | OCC_CUDESCESCA0002 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-UPCOM |  |  |  | 0 |  | 053/002/00011/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-UPCOM | [35 empty] | DO | 0x0F | 94 | 0 | 1 |  |  | 53 | 002 | 11 | 6 | 1 |  | Y | AS006
459 | A-7-3 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 |  |  | PTW Command | PTW Command |  | DO |  | 17 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ESC:ESCA0002; DB: <alias>CUDESCESCA0002 |  | OCC_CUDESCESCA0002 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-PTW |  |  |  | 0 |  | 053/002/00012/0/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-PTW | [35 empty] | DO | 0x0F | 96 | 0 | 1 |  |  | 53 | 002 | 12 | 0 | 1 |  |  | AS006
475 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 |  |  | Down Command | Down Command |  | DO |  | 14 |  |  |  |  | Down | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-DNCOM; DB: :R:A:CUD:ESC:ESCA0003; DB: <alias>CUDESCESCA0003 |  | OCC_CUDESCESCA0003 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-DNCOM |  |  |  | 0 |  | 053/002/00013/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-DNCOM | [35 empty] | DO | 0x0F | 106 | 0 | 1 |  |  | 53 | 002 | 13 | 2 | 1 |  | Y | AS006
478 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 |  |  | Stop Command | Stop Command |  | DO |  | 16 |  |  |  |  | Stop | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-STPCOM; DB: :R:A:CUD:ESC:ESCA0003; DB: <alias>CUDESCESCA0003 |  | OCC_CUDESCESCA0003 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-STPCOM |  |  |  | 0 |  | 053/002/00013/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-STPCOM | [35 empty] | DO | 0x0F | 108 | 0 | 1 |  |  | 53 | 002 | 13 | 4 | 1 |  | Y | AS006
481 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 |  |  | Up Command | Up Command |  | DO |  | 15 |  |  |  |  | Up | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-UPCOM; DB: :R:A:CUD:ESC:ESCA0003; DB: <alias>CUDESCESCA0003 |  | OCC_CUDESCESCA0003 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-UPCOM |  |  |  | 0 |  | 053/002/00013/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-UPCOM | [35 empty] | DO | 0x0F | 110 | 0 | 1 |  |  | 53 | 002 | 13 | 6 | 1 |  | Y | AS006
484 | A-7-3 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 |  |  | PTW Command | PTW Command |  | DO |  | 17 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ESC:ESCA0003; DB: <alias>CUDESCESCA0003 |  | OCC_CUDESCESCA0003 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-PTW |  |  |  | 0 |  | 053/002/00014/0/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-PTW | [35 empty] | DO | 0x0F | 112 | 0 | 1 |  |  | 53 | 002 | 14 | 0 | 1 |  |  | AS006
500 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 |  |  | Down Command | Down Command |  | DO |  | 14 |  |  |  |  | Down | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-DNCOM; DB: :R:A:CUD:ESC:ESCA0004; DB: <alias>CUDESCESCA0004 |  | OCC_CUDESCESCA0004 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-DNCOM |  |  |  | 0 |  | 053/002/00015/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-DNCOM | [35 empty] | DO | 0x0F | 122 | 0 | 1 |  |  | 53 | 002 | 15 | 2 | 1 |  | Y | AS006
503 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 |  |  | Stop Command | Stop Command |  | DO |  | 16 |  |  |  |  | Stop | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-STPCOM; DB: :R:A:CUD:ESC:ESCA0004; DB: <alias>CUDESCESCA0004 |  | OCC_CUDESCESCA0004 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-STPCOM |  |  |  | 0 |  | 053/002/00015/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-STPCOM | [35 empty] | DO | 0x0F | 124 | 0 | 1 |  |  | 53 | 002 | 15 | 4 | 1 |  | Y | AS006
506 | A-7-0 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 |  |  | Up Command | Up Command |  | DO |  | 15 |  |  |  |  | Up | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-UPCOM; DB: :R:A:CUD:ESC:ESCA0004; DB: <alias>CUDESCESCA0004 |  | OCC_CUDESCESCA0004 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-UPCOM |  |  |  | 0 |  | 053/002/00015/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-UPCOM | [35 empty] | DO | 0x0F | 126 | 0 | 1 |  |  | 53 | 002 | 15 | 6 | 1 |  | Y | AS006
509 | A-7-3 | M |  |  | CUD | Concourse to Platform |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 |  |  | PTW Command | PTW Command |  | DO |  | 17 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Escalator; DB: ESC_ESCA; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ESC:ESCA0004; DB: <alias>CUDESCESCA0004 |  | OCC_CUDESCESCA0004 |  | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-PTW |  |  |  | 0 |  | 053/002/00016/0/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-PTW | [35 empty] | DO | 0x0F | 128 | 0 | 1 |  |  | 53 | 002 | 16 | 0 | 1 |  |  | AS006
526 | A-7-3 | M |  |  | CUD | Corridor / CTER (1302) / TER (1301) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-05 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAV0002; DB: <alias>CUDECSOSAV0002 |  | OCC_CUDECSOSAV0002 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0002-PTW |  |  |  | 0 |  | 050/002/00000/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0002-PTW | [35 empty] | DO | 0x0F | 4 | 0 | 1 |  |  | 50 | 002 | 0 | 4 | 1 |  |  | AS003
547 | A-7-3 | M |  |  | CUD | Common Telecom Equipment Room (1302) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-03 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_WAMU; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:WAMU0005; DB: <alias>CUDECSWAMU0005 |  | OCC_CUDECSWAMU0005 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0005-PTW |  |  |  | 0 |  | 050/002/00001/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0005-PTW | [35 empty] | DO | 0x0F | 12 | 0 | 1 |  |  | 50 | 002 | 1 | 4 | 1 |  |  | AS003
569 | A-7-3 | M |  |  | CUD | TER (1301) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-01 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAV0004; DB: <alias>CUDECSEXAV0004 |  | OCC_CUDECSEXAV0004 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0004-PTW |  |  |  | 0 |  | 050/002/00002/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0004-PTW | [35 empty] | DO | 0x0F | 22 | 0 | 1 |  |  | 50 | 002 | 2 | 6 | 1 |  |  | AS003
594 | A-7-3 | M |  |  | CUD | TER (1301) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-06 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAV0003; DB: <alias>CUDECSOSAV0003 |  | OCC_CUDECSOSAV0003 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0003-PTW |  |  |  | 0 |  | 050/002/00003/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0003-PTW | [35 empty] | DO | 0x0F | 28 | 0 | 1 |  |  | 50 | 002 | 3 | 4 | 1 |  |  | AS003
616 | A-7-3 | M |  |  | CUD | TER (1301) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-04 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_CRAC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:CRAC0003; DB: <alias>CUDECSCRAC0003 |  | OCC_CUDECSCRAC0003 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0003-PTW |  |  |  | 0 |  | 050/002/00004/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0003-PTW | [35 empty] | DO | 0x0F | 36 | 0 | 1 |  |  | 50 | 002 | 4 | 4 | 1 |  |  | AS003
638 | A-7-3 | M |  |  | CUD | TER (1301) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-05 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_CRAC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:CRAC0004; DB: <alias>CUDECSCRAC0004 |  | OCC_CUDECSCRAC0004 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0004-PTW |  |  |  | 0 |  | 050/002/00005/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0004-PTW | [35 empty] | DO | 0x0F | 44 | 0 | 1 |  |  | 50 | 002 | 5 | 4 | 1 |  |  | AS003
657 | A-7-3 | M |  |  | CUD | UPS Battery Room (1414) / UPS Emergency Lighting (1417) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | EXV1 | Exhaust Air Fan (w/Ra static pressure) and VSD | Exhaust Air Fan | EAF-PL-02 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; DB: ECS_EXV1; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXV10001; DB: <alias>CUDECSEXV10001 |  | OCC_CUDECSEXV10001 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXV10001-PTW |  |  |  | 0 |  | 050/002/00006/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXV10001-PTW | [35 empty] | DO | 0x0F | 54 | 0 | 1 |  |  | 50 | 002 | 6 | 6 | 1 |  |  | AS003
689 | A-7-3 | M |  |  | CUD | UPS Battery Room (1414) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-01 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAV0004; DB: <alias>CUDECSOSAV0004 |  | OCC_CUDECSOSAV0004 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0004-PTW |  |  |  | 0 |  | 050/002/00007/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0004-PTW | [35 empty] | DO | 0x0F | 62 | 0 | 1 |  |  | 50 | 002 | 7 | 6 | 1 |  |  | AS003
716 | A-7-3 | M |  |  | CUD | UPS Emergency Lighting (1417) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-03 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAV0005; DB: <alias>CUDECSOSAV0005 |  | OCC_CUDECSOSAV0005 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0005-PTW |  |  |  | 0 |  | 050/002/00008/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0005-PTW | [35 empty] | DO | 0x0F | 70 | 0 | 1 |  |  | 50 | 002 | 8 | 6 | 1 |  |  | AS003
743 | A-7-3 | M |  |  | CUD | Station LV Switchboard City (1408) / LV Switchboard Country (1407) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-PL-04 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0007; DB: <alias>CUDECSEXAF0007 |  | OCC_CUDECSEXAF0007 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0007-PTW |  |  |  | 0 |  | 050/002/00009/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0007-PTW | [35 empty] | DO | 0x0F | 78 | 0 | 1 |  |  | 50 | 002 | 9 | 6 | 1 |  |  | AS003
766 | A-7-3 | M |  |  | CUD | Transformer Room City (1403) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-05 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAV0005; DB: <alias>CUDECSEXAV0005 |  | OCC_CUDECSEXAV0005 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0005-PTW |  |  |  | 0 |  | 050/002/00010/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0005-PTW | [35 empty] | DO | 0x0F | 86 | 0 | 1 |  |  | 50 | 002 | 10 | 6 | 1 |  |  | AS003
794 | A-7-3 | M |  |  | CUD | Transformer Room Country (1404) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-06 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAV0006; DB: <alias>CUDECSEXAV0006 |  | OCC_CUDECSEXAV0006 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0006-PTW |  |  |  | 0 |  | 050/002/00011/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0006-PTW | [35 empty] | DO | 0x0F | 94 | 0 | 1 |  |  | 50 | 002 | 11 | 6 | 1 |  |  | AS003
822 | A-7-3 | M |  |  | CUD | Signalling Equipment Room (1116) |  |  |  |  | CUD2-SBML5E-AS003 |  |  |  | BMS | ECS | FCUC | FCU Cassette | FCU Cassette | FCU-CL-01 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=0),1,0); DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_FCUC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:FCUC0002; DB: <alias>CUDECSFCUC0002 |  | OCC_CUDECSFCUC0002 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSFCUC0002-PTW |  |  |  | 0 |  | 050/002/00012/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoFCUC0002-PTW | [35 empty] | DO | 0x0F | 102 | 0 | 1 |  |  | 50 | 002 | 12 | 6 | 1 |  |  | AS003
850 | A-7-3 | M |  |  | CUD | Station Presentation Store (1124) |  |  |  |  | CUD2-SBML4W-AS004 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-09 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0008; DB: <alias>CUDECSEXAF0008 |  | OCC_CUDECSEXAF0008 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0008-PTW |  |  |  | 0 |  | 051/002/00000/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0008-PTW | [35 empty] | DO | 0x0F | 6 | 0 | 1 |  |  | 51 | 002 | 0 | 6 | 1 |  |  | AS004
873 | A-7-3 | M |  |  | CUD | Station Presentation Store (1124) |  |  |  |  | CUD2-SBML4W-AS004 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-10 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0009; DB: <alias>CUDECSEXAF0009 |  | OCC_CUDECSEXAF0009 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0009-PTW |  |  |  | 0 |  | 051/002/00001/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0009-PTW | [35 empty] | DO | 0x0F | 14 | 0 | 1 |  |  | 51 | 002 | 1 | 6 | 1 |  |  | AS004
896 | A-7-3 | M |  |  | CUD | Corridor |  |  |  |  | CUD2-SBML4W-AS004 |  |  |  | BMS | ECS | OSAF | Outside Air Fan | Outside Air Fan | OAF-CL-03 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAF0003; DB: <alias>CUDECSOSAF0003 |  | OCC_CUDECSOSAF0003 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAF0003-PTW |  |  |  | 0 |  | 051/002/00002/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAF0003-PTW | [35 empty] | DO | 0x0F | 20 | 0 | 1 |  |  | 51 | 002 | 2 | 4 | 1 |  |  | AS004
915 | A-7-3 | M |  |  | CUD | Cleaner’s Room (1132) / Station Store (1122) |  |  |  |  | CUD2-SBML4W-AS004 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-05 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0010; DB: <alias>CUDECSEXAF0010 |  | OCC_CUDECSEXAF0010 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0010-PTW |  |  |  | 0 |  | 051/002/00003/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0010-PTW | [35 empty] | DO | 0x0F | 28 | 0 | 1 |  |  | 51 | 002 | 3 | 4 | 1 |  |  | AS004
927 | A-7-3 | M |  |  | CUD | Shutter |  |  |  |  | CUD2-SBML4W-AS004 |  |  |  | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-02 |  |  | PTW Command | PTW Command |  | DO |  | 11 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Services/Security; DB: SEC_SHUT; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:SEC:SHUT0002; DB: <alias>CUDSECSHUT0002 |  | OCC_CUDSECSHUT0002 |  | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0002-PTW |  |  |  | 0 |  | 051/002/00004/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0002-PTW | [35 empty] | DO | 0x0F | 34 | 0 | 1 |  |  | 51 | 002 | 4 | 2 | 1 |  |  | AS004
928 | A-7-0 | M |  |  | CUD | Shutter |  |  |  |  | CUD2-SBML4W-AS004 |  |  |  | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-02 |  |  | Close Command | Close Command |  | DO |  | 9 |  |  |  |  | Close | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Services/Security; DB: SEC_SHUT; DB: DO; DB: dioBMS-CLSCOM; DB: :R:A:CUD:SEC:SHUT0002; DB: <alias>CUDSECSHUT0002 |  | OCC_CUDSECSHUT0002 |  | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0002-CLSCOM |  |  |  | 0 |  | 051/002/00004/3/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0002-CLSCOM | [35 empty] | DO | 0x0F | 35 | 0 | 1 |  |  | 51 | 002 | 4 | 3 | 1 |  | Y | AS004
931 | A-7-0 | M |  |  | CUD | Shutter |  |  |  |  | CUD2-SBML4W-AS004 |  |  |  | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-02 |  |  | Open Command | Open Command |  | DO |  | 10 |  |  |  |  | Open | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Services/Security; DB: SEC_SHUT; DB: DO; DB: dioBMS-OPNCOM; DB: :R:A:CUD:SEC:SHUT0002; DB: <alias>CUDSECSHUT0002 |  | OCC_CUDSECSHUT0002 |  | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0002-OPNCOM |  |  |  | 0 |  | 051/002/00004/5/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0002-OPNCOM | [35 empty] | DO | 0x0F | 37 | 0 | 1 |  |  | 51 | 002 | 4 | 5 | 1 |  | Y | AS004
945 | A-7-3 | M |  |  | CUD | [5 empty] | CUD2-SBML4W-AS004 |  |  |  | BMS | TRA | VIEL | Viaduct Emergency Light | Viaduct Emergency Light | VEL-01 |  |  | PTW Command | PTW Command |  | DO |  | 8 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Railway/Trackside Light; DB: TRA_VIEL; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:TRA:VIEL0001; DB: <alias>CUDTRAVIEL0001 |  | OCC_CUDTRAVIEL0001 |  | CUD_FEP | CUD_TRA | DEOV | deoCUDTRAVIEL0001-PTW |  |  |  | 0 |  | 051/002/00005/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_TRA:deoVIEL0001-PTW | [35 empty] | DO | 0x0F | 44 | 0 | 1 |  |  | 51 | 002 | 5 | 4 | 1 |  |  | AS004
957 | A-7-3 | M |  |  | CUD | [5 empty] | CUD2-SBML4W-AS004 |  |  |  | BMS | TRA | VIEL | Viaduct Emergency Light | Viaduct Emergency Light | VEL-02 |  |  | PTW Command | PTW Command |  | DO |  | 8 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Railway/Trackside Light; DB: TRA_VIEL; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:TRA:VIEL0002; DB: <alias>CUDTRAVIEL0002 |  | OCC_CUDTRAVIEL0002 |  | CUD_FEP | CUD_TRA | DEOV | deoCUDTRAVIEL0002-PTW |  |  |  | 0 |  | 051/002/00006/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_TRA:deoVIEL0002-PTW | [35 empty] | DO | 0x0F | 52 | 0 | 1 |  |  | 51 | 002 | 6 | 4 | 1 |  |  | AS004
974 | A-7-3 | M |  |  | CUD | Signalling Equipment Room (1303) |  |  |  |  | CUD1-SBML6P-AS005 |  |  |  | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-03 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_CRAC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:CRAC0005; DB: <alias>CUDECSCRAC0005 |  | OCC_CUDECSCRAC0005 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0005-PTW |  |  |  | 0 |  | 052/002/00000/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0005-PTW | [35 empty] | DO | 0x0F | 4 | 0 | 1 |  |  | 52 | 002 | 0 | 4 | 1 |  |  | AS005
995 | A-7-3 | M |  |  | CUD | Platform Edge Barrier Room (1413) |  |  |  |  | CUD1-SBML6P-AS005 |  |  |  | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-02 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_WAMU; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:WAMU0006; DB: <alias>CUDECSWAMU0006 |  | OCC_CUDECSWAMU0006 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0006-PTW |  |  |  | 0 |  | 052/002/00001/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0006-PTW | [35 empty] | DO | 0x0F | 12 | 0 | 1 |  |  | 52 | 002 | 1 | 4 | 1 |  |  | AS005
1017 | A-7-3 | M |  |  | CUD | UPS Emergency Lighting (1417) |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-04 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAV0006; DB: <alias>CUDECSOSAV0006 |  | OCC_CUDECSOSAV0006 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0006-PTW |  |  |  | 0 |  | 053/002/00000/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0006-PTW | [35 empty] | DO | 0x0F | 6 | 0 | 1 |  |  | 53 | 002 | 0 | 6 | 1 |  |  | AS006
1043 | A-7-3 | M |  |  | CUD | TER (1301) |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-06 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_CRAC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:CRAC0006; DB: <alias>CUDECSCRAC0006 |  | OCC_CUDECSCRAC0006 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0006-PTW |  |  |  | 0 |  | 053/002/00001/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0006-PTW | [35 empty] | DO | 0x0F | 12 | 0 | 1 |  |  | 53 | 002 | 1 | 4 | 1 |  |  | AS006
1064 | A-7-3 | M |  |  | CUD | Common Telecom Equipment Room (1302) |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-04 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_WAMU; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:WAMU0007; DB: <alias>CUDECSWAMU0007 |  | OCC_CUDECSWAMU0007 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0007-PTW |  |  |  | 0 |  | 053/002/00002/4/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0007-PTW | [35 empty] | DO | 0x0F | 20 | 0 | 1 |  |  | 53 | 002 | 2 | 4 | 1 |  |  | AS006
1086 | A-7-3 | M |  |  | CUD | Signalling Equipment Room (1116) |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ECS | FCUC | FCU Cassette | FCU Cassette | FCU-CL-02 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=0),1,0); DB: dovBMS-CTLVAL1; SE: 1; SE: IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0); HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Water Side; HMI: CUD/ECS/Eqt. Summary 2; DB: ECS_FCUC; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:FCUC0003; DB: <alias>CUDECSFCUC0003 |  | OCC_CUDECSFCUC0003 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSFCUC0003-PTW |  |  |  | 0 |  | 053/002/00003/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoFCUC0003-PTW | [35 empty] | DO | 0x0F | 30 | 0 | 1 |  |  | 53 | 002 | 3 | 6 | 1 |  |  | AS006
1114 | A-7-3 | M |  |  | CUD | UPS Battery Room (1414) |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-02 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_OSAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:OSAV0007; DB: <alias>CUDECSOSAV0007 |  | OCC_CUDECSOSAV0007 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0007-PTW |  |  |  | 0 |  | 053/002/00004/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0007-PTW | [35 empty] | DO | 0x0F | 38 | 0 | 1 |  |  | 53 | 002 | 4 | 6 | 1 |  |  | AS006
1139 | A-7-3 | M |  |  | CUD | Refuse Store (1127) |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-07 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAF; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAF0011; DB: <alias>CUDECSEXAF0011 |  | OCC_CUDECSEXAF0011 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0011-PTW |  |  |  | 0 |  | 053/002/00005/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0011-PTW | [35 empty] | DO | 0x0F | 46 | 0 | 1 |  |  | 53 | 002 | 5 | 6 | 1 |  |  | AS006
1162 | A-7-3 | M |  |  | CUD | UPS Battery Room (1414) / UPS Emergency Lighting (1417) |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-03 |  |  | PTW Command | PTW Command |  | DO |  | 12 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/ECS/Air Side/Station; HMI: CUD/ECS/Eqt. Summary 1; DB: ECS_EXAV; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:ECS:EXAV0007; DB: <alias>CUDECSEXAV0007 |  | OCC_CUDECSEXAV0007 |  | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0007-PTW |  |  |  | 0 |  | 053/002/00006/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0007-PTW | [35 empty] | DO | 0x0F | 54 | 0 | 1 |  |  | 53 | 002 | 6 | 6 | 1 |  |  | AS006
1184 | A-7-0 | M |  |  | CUD | Lift System |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | LIF | LIFT | Lift | Lift | LFT-01 |  |  | Lift Homing Start | Lift Homing |  | DO |  | 12 |  |  |  |  | Home | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Lift; DB: LIF_LIFT; DB: DO; DB: dioBMS-LIFHOMING; DB: :R:A:CUD:LIF:LIFT0001; DB: <alias>CUDLIFLIFT0001 |  | OCC_CUDLIFLIFT0001 |  | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0001-LIFHOMING |  |  |  | 0 |  | 053/002/00007/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0001-LIFTSTT | [35 empty] | DO | 0x0F | 58 | 0 | 1 |  |  | 53 | 002 | 7 | 2 | 1 |  | Y | AS006
1193 | A-7-3 | M |  |  | CUD | Lift System |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | LIF | LIFT | Lift | Lift | LFT-01 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Lift; DB: LIF_LIFT; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:LIF:LIFT0001; DB: <alias>CUDLIFLIFT0001 |  | OCC_CUDLIFLIFT0001 |  | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0001-PTW |  |  |  | 0 |  | 053/002/00007/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0001-PTW | [35 empty] | DO | 0x0F | 62 | 0 | 1 |  |  | 53 | 002 | 7 | 6 | 1 |  |  | AS006
1207 | A-7-0 | M |  |  | CUD | Lift System |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | LIF | LIFT | Lift | Lift | LFT-02 |  |  | Lift Homing Start | Lift Homing |  | DO |  | 12 |  |  |  |  | Home | [29 empty] | DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Lift; DB: LIF_LIFT; DB: DO; DB: dioBMS-LIFHOMING; DB: :R:A:CUD:LIF:LIFT0002; DB: <alias>CUDLIFLIFT0002 |  | OCC_CUDLIFLIFT0002 |  | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0002-LIFHOMING |  |  |  | 0 |  | 053/002/00008/2/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0002-LIFTSTT | [35 empty] | DO | 0x0F | 66 | 0 | 1 |  |  | 53 | 002 | 8 | 2 | 1 |  | Y | AS006
1216 | A-7-3 | M |  |  | CUD | Lift System |  |  |  |  | CUD1-SBML7E-AS006 |  |  |  | BMS | LIF | LIFT | Lift | Lift | LFT-02 |  |  | PTW Command | PTW Command |  | DO |  | 13 | Off |  |  |  | On | [29 empty] | DB: dovBMS-CTLVAL0; SE: 0; DB: dovBMS-CTLVAL1; SE: 1; HMI: CUD/Layout/Concourse Level; HMI: CUD/Layout/Platform Level; HMI: CUD/Services/Lift; DB: LIF_LIFT; DB: DO; DB: dioBMS-PTW; DB: :R:A:CUD:LIF:LIFT0002; DB: <alias>CUDLIFLIFT0002 |  | OCC_CUDLIFLIFT0002 |  | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0002-PTW |  |  |  | 0 |  | 053/002/00008/6/000001 |  |  |  | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0002-PTW | [35 empty] | DO | 0x0F | 70 | 0 | 1 |  |  | 53 | 002 | 8 | 6 | 1 |  |  | AS006
Note on A3: View definition. Separate by ";". Blank for common; "hide" for hidden.
Note on A4: Validation function. Define up to max 3 checkings, sparated by ";". Refer "validation func help" for descriptions.
Note on A5: "class" / "byclass" "class" - values on class and list must match "byclass" - values defined by class ONLY. List may keep blank, values inheriting class
Note on A6: PIC
Note on R8: required on Class-List validation
Note on U8: required on Class-List validation
Note on X8: required on Class-List validation
Note on AA8: required on Class-List validation
Note on AD8: required on Class-List validation
Note on AH8: required on Class-List validation