## DO
160
16 | A-7-3 | M | CUD | Staff Toilet / Female Staff Locker Room (1120) / Male Staff Locker Room (1119) | CUD2-SBML1E-AS001 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-01 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0001 | <alias>CUDECSEXAF0001 | OCC_CUDECSEXAF0001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0001-PTW | 0 | 048/002/00000/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0001-PTW | DO | 0x0F | 4 | 0 | 1 | 48 | 002 | 0 | 4 | 1 |  | AS001
33 | A-7-3 | M | CUD | Toilet (1102) / Ambulant Toilet (1104) / Accessible Toilet (1106) | CUD2-SBML1E-AS001 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-02 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0002 | <alias>CUDECSEXAF0002 | OCC_CUDECSEXAF0002 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0002-PTW | 0 | 048/002/00001/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0002-PTW | DO | 0x0F | 12 | 0 | 1 | 48 | 002 | 1 | 4 | 1 |  | AS001
50 | A-7-3 | M | CUD | Toilet (1102) / Ambulant Toilet (1104) / Accessible Toilet (1106) | CUD2-SBML1E-AS001 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-03 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0003 | <alias>CUDECSEXAF0003 | OCC_CUDECSEXAF0003 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0003-PTW | 0 | 048/002/00002/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0003-PTW | DO | 0x0F | 20 | 0 | 1 | 48 | 002 | 2 | 4 | 1 |  | AS001
67 | A-7-3 | M | CUD | Staff Toilet (1121) / Parents Room (1107) | CUD2-SBML1E-AS001 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-04 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0004 | <alias>CUDECSEXAF0004 | OCC_CUDECSEXAF0004 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0004-PTW | 0 | 048/002/00003/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0004-PTW | DO | 0x0F | 28 | 0 | 1 | 48 | 002 | 3 | 4 | 1 |  | AS001
84 | A-7-3 | M | CUD | Mess Room (1118) / Maintenance Store (1131) | CUD2-SBML1E-AS001 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-08 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0005 | <alias>CUDECSEXAF0005 | OCC_CUDECSEXAF0005 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0005-PTW | 0 | 048/002/00005/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0005-PTW | DO | 0x0F | 44 | 0 | 1 | 48 | 002 | 5 | 4 | 1 |  | AS001
101 | A-7-3 | M | CUD | Refuse Store (1127) | CUD2-SBML1E-AS001 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-06 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0006 | <alias>CUDECSEXAF0006 | OCC_CUDECSEXAF0006 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0006-PTW | 0 | 048/002/00004/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0006-PTW | DO | 0x0F | 38 | 0 | 1 | 48 | 002 | 4 | 6 | 1 |  | AS001
127 | A-7-3 | M | CUD | Mess Room (1118) via FCU-CUD-CL-03 / Maintenance Office (1130) / Corridor | CUD2-SBML1E-AS001 | BMS | ECS | OSAF | Outside Air Fan | Outside Air Fan | OAF-CL-01 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAF | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAF0001 | <alias>CUDECSOSAF0001 | OCC_CUDECSOSAF0001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAF0001-PTW | 0 | 048/002/00007/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAF0001-PTW | DO | 0x0F | 60 | 0 | 1 | 48 | 002 | 7 | 4 | 1 |  | AS001
146 | A-7-3 | M | CUD | Station Management Room (1116) via FCU-CUD-CL-01 and FCU-CUD-CL-02 | CUD2-SBML1E-AS001 | BMS | ECS | OSAF | Outside Air Fan | Outside Air Fan | OAF-CL-02 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAF | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAF0002 | <alias>CUDECSOSAF0002 | OCC_CUDECSOSAF0002 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAF0002-PTW | 0 | 048/002/00008/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAF0002-PTW | DO | 0x0F | 68 | 0 | 1 | 48 | 002 | 8 | 4 | 1 |  | AS001
165 | A-7-3 | M | CUD | Male Staff Locker Room (1119) | CUD2-SBML1E-AS001 | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-CL-01 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_WAMU | DO | dioBMS-PTW | :R:A:CUD:ECS:WAMU0001 | <alias>CUDECSWAMU0001 | OCC_CUDECSWAMU0001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0001-PTW | 0 | 048/002/00009/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0001-PTW | DO | 0x0F | 76 | 0 | 1 | 48 | 002 | 9 | 4 | 1 |  | AS001
187 | A-7-3 | M | CUD | Female Staff Locker Room (1120) | CUD2-SBML1E-AS001 | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-CL-02 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_WAMU | DO | dioBMS-PTW | :R:A:CUD:ECS:WAMU0002 | <alias>CUDECSWAMU0002 | OCC_CUDECSWAMU0002 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0002-PTW | 0 | 048/002/00010/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0002-PTW | DO | 0x0F | 84 | 0 | 1 | 48 | 002 | 10 | 4 | 1 |  | AS001
209 | A-7-3 | M | CUD | Maintenance Office (1130) | CUD2-SBML1E-AS001 | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-CL-03 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_WAMU | DO | dioBMS-PTW | :R:A:CUD:ECS:WAMU0003 | <alias>CUDECSWAMU0003 | OCC_CUDECSWAMU0003 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0003-PTW | 0 | 048/002/00011/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0003-PTW | DO | 0x0F | 92 | 0 | 1 | 48 | 002 | 11 | 4 | 1 |  | AS001
231 | A-7-3 | M | CUD | Mess Room (1118) | CUD2-SBML1E-AS001 | BMS | ECS | FCUC | FCU Cassette | FCU Cassette | FCU-CL-03 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=0),1,0) | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_FCUC | DO | dioBMS-PTW | :R:A:CUD:ECS:FCUC0001 | <alias>CUDECSFCUC0001 | OCC_CUDECSFCUC0001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSFCUC0001-PTW | 0 | 048/002/00006/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoFCUC0001-PTW | DO | 0x0F | 54 | 0 | 1 | 48 | 002 | 6 | 6 | 1 |  | AS001
254 | A-7-3 | M | CUD |  | CUD2-SBML1E-AS001 | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-01 | PTW Command | PTW Command | DO | 11 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Services/Security |  | SEC_SHUT | DO | dioBMS-PTW | :R:A:CUD:SEC:SHUT0001 | <alias>CUDSECSHUT0001 | OCC_CUDSECSHUT0001 | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0001-PTW | 0 | 048/002/00012/2/000001 | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0001-PTW | DO | 0x0F | 98 | 0 | 1 | 48 | 002 | 12 | 2 | 1 |  | AS001
255 | A-7-0 | M | CUD |  | CUD2-SBML1E-AS001 | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-01 | Close Command | Close Command | DO | 9 |  | Close |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Services/Security |  | SEC_SHUT | DO | dioBMS-CLSCOM | :R:A:CUD:SEC:SHUT0001 | <alias>CUDSECSHUT0001 | OCC_CUDSECSHUT0001 | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0001-CLSCOM | 0 | 048/002/00012/3/000001 | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0001-CLSCOM | DO | 0x0F | 99 | 0 | 1 | 48 | 002 | 12 | 3 | 1 | Y | AS001
258 | A-7-0 | M | CUD |  | CUD2-SBML1E-AS001 | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-01 | Open Command | Open Command | DO | 10 |  | Open |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Services/Security |  | SEC_SHUT | DO | dioBMS-OPNCOM | :R:A:CUD:SEC:SHUT0001 | <alias>CUDSECSHUT0001 | OCC_CUDSECSHUT0001 | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0001-OPNCOM | 0 | 048/002/00012/5/000001 | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0001-OPNCOM | DO | 0x0F | 101 | 0 | 1 | 48 | 002 | 12 | 5 | 1 | Y | AS001
279 | A-7-3 | M | CUD | Signalling Equipment Room (1303) | CUD2-SBML2P-AS002 | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-01 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_CRAC | DO | dioBMS-PTW | :R:A:CUD:ECS:CRAC0001 | <alias>CUDECSCRAC0001 | OCC_CUDECSCRAC0001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0001-PTW | 0 | 049/002/00000/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0001-PTW | DO | 0x0F | 4 | 0 | 1 | 49 | 002 | 0 | 4 | 1 |  | AS002
301 | A-7-3 | M | CUD | Signalling Equipment Room (1303) | CUD2-SBML2P-AS002 | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-02 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_CRAC | DO | dioBMS-PTW | :R:A:CUD:ECS:CRAC0002 | <alias>CUDECSCRAC0002 | OCC_CUDECSCRAC0002 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0002-PTW | 0 | 049/002/00001/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0002-PTW | DO | 0x0F | 12 | 0 | 1 | 49 | 002 | 1 | 4 | 1 |  | AS002
320 | A-7-3 | M | CUD | Platform Edge Barrier Room (1413) | CUD2-SBML2P-AS002 | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-01 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_WAMU | DO | dioBMS-PTW | :R:A:CUD:ECS:WAMU0004 | <alias>CUDECSWAMU0004 | OCC_CUDECSWAMU0004 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0004-PTW | 0 | 049/002/00002/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0004-PTW | DO | 0x0F | 20 | 0 | 1 | 49 | 002 | 2 | 4 | 1 |  | AS002
342 | A-7-3 | M | CUD | SER (1303) / PEB (1413) | CUD2-SBML2P-AS002 | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-07 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAV | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAV0001 | <alias>CUDECSEXAV0001 | OCC_CUDECSEXAV0001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0001-PTW | 0 | 049/002/00003/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0001-PTW | DO | 0x0F | 28 | 0 | 1 | 49 | 002 | 3 | 4 | 1 |  | AS002
361 | A-7-3 | M | CUD | Cable Termination Room (1421) | CUD2-SBML2P-AS002 | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-08 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAV | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAV0002 | <alias>CUDECSEXAV0002 | OCC_CUDECSEXAV0002 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0002-PTW | 0 | 049/002/00004/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0002-PTW | DO | 0x0F | 36 | 0 | 1 | 49 | 002 | 4 | 4 | 1 |  | AS002
380 | A-7-3 | M | CUD | Cable Termination Room (1422) | CUD2-SBML2P-AS002 | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-09 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAV | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAV0003 | <alias>CUDECSEXAV0003 | OCC_CUDECSEXAV0003 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0003-PTW | 0 | 049/002/00005/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0003-PTW | DO | 0x0F | 44 | 0 | 1 | 49 | 002 | 5 | 4 | 1 |  | AS002
399 | A-7-3 | M | CUD | Transformer Room (3403) | CUD2-SBML2P-AS002 | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-07 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAV | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAV0001 | <alias>CUDECSOSAV0001 | OCC_CUDECSOSAV0001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0001-PTW | 0 | 049/002/00006/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0001-PTW | DO | 0x0F | 54 | 0 | 1 | 49 | 002 | 6 | 6 | 1 |  | AS002
425 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 | Down Command | Down Command | DO | 14 |  | Down |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-DNCOM | :R:A:CUD:ESC:ESCA0001 | <alias>CUDESCESCA0001 | OCC_CUDESCESCA0001 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-DNCOM | 0 | 053/002/00009/2/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-DNCOM | DO | 0x0F | 74 | 0 | 1 | 53 | 002 | 9 | 2 | 1 | Y | AS006
428 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 | Stop Command | Stop Command | DO | 16 |  | Stop |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-STPCOM | :R:A:CUD:ESC:ESCA0001 | <alias>CUDESCESCA0001 | OCC_CUDESCESCA0001 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-STPCOM | 0 | 053/002/00009/4/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-STPCOM | DO | 0x0F | 76 | 0 | 1 | 53 | 002 | 9 | 4 | 1 | Y | AS006
431 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 | Up Command | Up Command | DO | 15 |  | Up |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-UPCOM | :R:A:CUD:ESC:ESCA0001 | <alias>CUDESCESCA0001 | OCC_CUDESCESCA0001 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-UPCOM | 0 | 053/002/00009/6/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-UPCOM | DO | 0x0F | 78 | 0 | 1 | 53 | 002 | 9 | 6 | 1 | Y | AS006
434 | A-7-3 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-01 | PTW Command | PTW Command | DO | 17 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-PTW | :R:A:CUD:ESC:ESCA0001 | <alias>CUDESCESCA0001 | OCC_CUDESCESCA0001 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0001-PTW | 0 | 053/002/00010/0/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0001-PTW | DO | 0x0F | 80 | 0 | 1 | 53 | 002 | 10 | 0 | 1 |  | AS006
450 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 | Down Command | Down Command | DO | 14 |  | Down |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-DNCOM | :R:A:CUD:ESC:ESCA0002 | <alias>CUDESCESCA0002 | OCC_CUDESCESCA0002 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-DNCOM | 0 | 053/002/00011/2/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-DNCOM | DO | 0x0F | 90 | 0 | 1 | 53 | 002 | 11 | 2 | 1 | Y | AS006
453 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 | Stop Command | Stop Command | DO | 16 |  | Stop |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-STPCOM | :R:A:CUD:ESC:ESCA0002 | <alias>CUDESCESCA0002 | OCC_CUDESCESCA0002 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-STPCOM | 0 | 053/002/00011/4/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-STPCOM | DO | 0x0F | 92 | 0 | 1 | 53 | 002 | 11 | 4 | 1 | Y | AS006
456 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 | Up Command | Up Command | DO | 15 |  | Up |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-UPCOM | :R:A:CUD:ESC:ESCA0002 | <alias>CUDESCESCA0002 | OCC_CUDESCESCA0002 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-UPCOM | 0 | 053/002/00011/6/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-UPCOM | DO | 0x0F | 94 | 0 | 1 | 53 | 002 | 11 | 6 | 1 | Y | AS006
459 | A-7-3 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-02 | PTW Command | PTW Command | DO | 17 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-PTW | :R:A:CUD:ESC:ESCA0002 | <alias>CUDESCESCA0002 | OCC_CUDESCESCA0002 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0002-PTW | 0 | 053/002/00012/0/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0002-PTW | DO | 0x0F | 96 | 0 | 1 | 53 | 002 | 12 | 0 | 1 |  | AS006
475 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 | Down Command | Down Command | DO | 14 |  | Down |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-DNCOM | :R:A:CUD:ESC:ESCA0003 | <alias>CUDESCESCA0003 | OCC_CUDESCESCA0003 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-DNCOM | 0 | 053/002/00013/2/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-DNCOM | DO | 0x0F | 106 | 0 | 1 | 53 | 002 | 13 | 2 | 1 | Y | AS006
478 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 | Stop Command | Stop Command | DO | 16 |  | Stop |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-STPCOM | :R:A:CUD:ESC:ESCA0003 | <alias>CUDESCESCA0003 | OCC_CUDESCESCA0003 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-STPCOM | 0 | 053/002/00013/4/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-STPCOM | DO | 0x0F | 108 | 0 | 1 | 53 | 002 | 13 | 4 | 1 | Y | AS006
481 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 | Up Command | Up Command | DO | 15 |  | Up |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-UPCOM | :R:A:CUD:ESC:ESCA0003 | <alias>CUDESCESCA0003 | OCC_CUDESCESCA0003 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-UPCOM | 0 | 053/002/00013/6/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-UPCOM | DO | 0x0F | 110 | 0 | 1 | 53 | 002 | 13 | 6 | 1 | Y | AS006
484 | A-7-3 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-03 | PTW Command | PTW Command | DO | 17 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-PTW | :R:A:CUD:ESC:ESCA0003 | <alias>CUDESCESCA0003 | OCC_CUDESCESCA0003 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0003-PTW | 0 | 053/002/00014/0/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0003-PTW | DO | 0x0F | 112 | 0 | 1 | 53 | 002 | 14 | 0 | 1 |  | AS006
500 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 | Down Command | Down Command | DO | 14 |  | Down |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-DNCOM | :R:A:CUD:ESC:ESCA0004 | <alias>CUDESCESCA0004 | OCC_CUDESCESCA0004 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-DNCOM | 0 | 053/002/00015/2/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-DNCOM | DO | 0x0F | 122 | 0 | 1 | 53 | 002 | 15 | 2 | 1 | Y | AS006
503 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 | Stop Command | Stop Command | DO | 16 |  | Stop |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-STPCOM | :R:A:CUD:ESC:ESCA0004 | <alias>CUDESCESCA0004 | OCC_CUDESCESCA0004 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-STPCOM | 0 | 053/002/00015/4/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-STPCOM | DO | 0x0F | 124 | 0 | 1 | 53 | 002 | 15 | 4 | 1 | Y | AS006
506 | A-7-0 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 | Up Command | Up Command | DO | 15 |  | Up |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-UPCOM | :R:A:CUD:ESC:ESCA0004 | <alias>CUDESCESCA0004 | OCC_CUDESCESCA0004 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-UPCOM | 0 | 053/002/00015/6/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-UPCOM | DO | 0x0F | 126 | 0 | 1 | 53 | 002 | 15 | 6 | 1 | Y | AS006
509 | A-7-3 | M | CUD | Concourse to Platform | CUD1-SBML7E-AS006 | BMS | ESC | ESCA | Escalator | Escalator | ESC-PL-04 | PTW Command | PTW Command | DO | 17 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Escalator | ESC_ESCA | DO | dioBMS-PTW | :R:A:CUD:ESC:ESCA0004 | <alias>CUDESCESCA0004 | OCC_CUDESCESCA0004 | CUD_FEP | CUD_ESC | DEOV | deoCUDESCESCA0004-PTW | 0 | 053/002/00016/0/000001 | :R:A:POLE:CUD_FEP:CUD_ESC:deoESCA0004-PTW | DO | 0x0F | 128 | 0 | 1 | 53 | 002 | 16 | 0 | 1 |  | AS006
526 | A-7-3 | M | CUD | Corridor / CTER (1302) / TER (1301) | CUD2-SBML5E-AS003 | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-05 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAV | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAV0002 | <alias>CUDECSOSAV0002 | OCC_CUDECSOSAV0002 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0002-PTW | 0 | 050/002/00000/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0002-PTW | DO | 0x0F | 4 | 0 | 1 | 50 | 002 | 0 | 4 | 1 |  | AS003
547 | A-7-3 | M | CUD | Common Telecom Equipment Room (1302) | CUD2-SBML5E-AS003 | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-03 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_WAMU | DO | dioBMS-PTW | :R:A:CUD:ECS:WAMU0005 | <alias>CUDECSWAMU0005 | OCC_CUDECSWAMU0005 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0005-PTW | 0 | 050/002/00001/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0005-PTW | DO | 0x0F | 12 | 0 | 1 | 50 | 002 | 1 | 4 | 1 |  | AS003
569 | A-7-3 | M | CUD | TER (1301) | CUD2-SBML5E-AS003 | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-01 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAV | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAV0004 | <alias>CUDECSEXAV0004 | OCC_CUDECSEXAV0004 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0004-PTW | 0 | 050/002/00002/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0004-PTW | DO | 0x0F | 22 | 0 | 1 | 50 | 002 | 2 | 6 | 1 |  | AS003
594 | A-7-3 | M | CUD | TER (1301) | CUD2-SBML5E-AS003 | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-06 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAV | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAV0003 | <alias>CUDECSOSAV0003 | OCC_CUDECSOSAV0003 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0003-PTW | 0 | 050/002/00003/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0003-PTW | DO | 0x0F | 28 | 0 | 1 | 50 | 002 | 3 | 4 | 1 |  | AS003
616 | A-7-3 | M | CUD | TER (1301) | CUD2-SBML5E-AS003 | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-04 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_CRAC | DO | dioBMS-PTW | :R:A:CUD:ECS:CRAC0003 | <alias>CUDECSCRAC0003 | OCC_CUDECSCRAC0003 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0003-PTW | 0 | 050/002/00004/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0003-PTW | DO | 0x0F | 36 | 0 | 1 | 50 | 002 | 4 | 4 | 1 |  | AS003
638 | A-7-3 | M | CUD | TER (1301) | CUD2-SBML5E-AS003 | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-05 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_CRAC | DO | dioBMS-PTW | :R:A:CUD:ECS:CRAC0004 | <alias>CUDECSCRAC0004 | OCC_CUDECSCRAC0004 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0004-PTW | 0 | 050/002/00005/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0004-PTW | DO | 0x0F | 44 | 0 | 1 | 50 | 002 | 5 | 4 | 1 |  | AS003
657 | A-7-3 | M | CUD | UPS Battery Room (1414) / UPS Emergency Lighting (1417) | CUD2-SBML5E-AS003 | BMS | ECS | EXV1 | Exhaust Air Fan (w/Ra static pressure) and VSD | Exhaust Air Fan | EAF-PL-02 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  |  |  |  | ECS_EXV1 | DO | dioBMS-PTW | :R:A:CUD:ECS:EXV10001 | <alias>CUDECSEXV10001 | OCC_CUDECSEXV10001 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXV10001-PTW | 0 | 050/002/00006/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXV10001-PTW | DO | 0x0F | 54 | 0 | 1 | 50 | 002 | 6 | 6 | 1 |  | AS003
689 | A-7-3 | M | CUD | UPS Battery Room (1414) | CUD2-SBML5E-AS003 | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-01 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAV | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAV0004 | <alias>CUDECSOSAV0004 | OCC_CUDECSOSAV0004 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0004-PTW | 0 | 050/002/00007/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0004-PTW | DO | 0x0F | 62 | 0 | 1 | 50 | 002 | 7 | 6 | 1 |  | AS003
716 | A-7-3 | M | CUD | UPS Emergency Lighting (1417) | CUD2-SBML5E-AS003 | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-03 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAV | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAV0005 | <alias>CUDECSOSAV0005 | OCC_CUDECSOSAV0005 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0005-PTW | 0 | 050/002/00008/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0005-PTW | DO | 0x0F | 70 | 0 | 1 | 50 | 002 | 8 | 6 | 1 |  | AS003
743 | A-7-3 | M | CUD | Station LV Switchboard City (1408) / LV Switchboard Country (1407) | CUD2-SBML5E-AS003 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-PL-04 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0007 | <alias>CUDECSEXAF0007 | OCC_CUDECSEXAF0007 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0007-PTW | 0 | 050/002/00009/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0007-PTW | DO | 0x0F | 78 | 0 | 1 | 50 | 002 | 9 | 6 | 1 |  | AS003
766 | A-7-3 | M | CUD | Transformer Room City (1403) | CUD2-SBML5E-AS003 | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-05 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAV | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAV0005 | <alias>CUDECSEXAV0005 | OCC_CUDECSEXAV0005 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0005-PTW | 0 | 050/002/00010/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0005-PTW | DO | 0x0F | 86 | 0 | 1 | 50 | 002 | 10 | 6 | 1 |  | AS003
794 | A-7-3 | M | CUD | Transformer Room Country (1404) | CUD2-SBML5E-AS003 | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-06 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAV | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAV0006 | <alias>CUDECSEXAV0006 | OCC_CUDECSEXAV0006 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0006-PTW | 0 | 050/002/00011/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0006-PTW | DO | 0x0F | 94 | 0 | 1 | 50 | 002 | 11 | 6 | 1 |  | AS003
822 | A-7-3 | M | CUD | Signalling Equipment Room (1116) | CUD2-SBML5E-AS003 | BMS | ECS | FCUC | FCU Cassette | FCU Cassette | FCU-CL-01 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=0),1,0) | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_FCUC | DO | dioBMS-PTW | :R:A:CUD:ECS:FCUC0002 | <alias>CUDECSFCUC0002 | OCC_CUDECSFCUC0002 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSFCUC0002-PTW | 0 | 050/002/00012/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoFCUC0002-PTW | DO | 0x0F | 102 | 0 | 1 | 50 | 002 | 12 | 6 | 1 |  | AS003
850 | A-7-3 | M | CUD | Station Presentation Store (1124) | CUD2-SBML4W-AS004 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-09 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0008 | <alias>CUDECSEXAF0008 | OCC_CUDECSEXAF0008 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0008-PTW | 0 | 051/002/00000/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0008-PTW | DO | 0x0F | 6 | 0 | 1 | 51 | 002 | 0 | 6 | 1 |  | AS004
873 | A-7-3 | M | CUD | Station Presentation Store (1124) | CUD2-SBML4W-AS004 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-10 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0009 | <alias>CUDECSEXAF0009 | OCC_CUDECSEXAF0009 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0009-PTW | 0 | 051/002/00001/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0009-PTW | DO | 0x0F | 14 | 0 | 1 | 51 | 002 | 1 | 6 | 1 |  | AS004
896 | A-7-3 | M | CUD | Corridor | CUD2-SBML4W-AS004 | BMS | ECS | OSAF | Outside Air Fan | Outside Air Fan | OAF-CL-03 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAF | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAF0003 | <alias>CUDECSOSAF0003 | OCC_CUDECSOSAF0003 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAF0003-PTW | 0 | 051/002/00002/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAF0003-PTW | DO | 0x0F | 20 | 0 | 1 | 51 | 002 | 2 | 4 | 1 |  | AS004
915 | A-7-3 | M | CUD | Cleaner’s Room (1132) / Station Store (1122) | CUD2-SBML4W-AS004 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-05 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0010 | <alias>CUDECSEXAF0010 | OCC_CUDECSEXAF0010 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0010-PTW | 0 | 051/002/00003/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0010-PTW | DO | 0x0F | 28 | 0 | 1 | 51 | 002 | 3 | 4 | 1 |  | AS004
927 | A-7-3 | M | CUD | Shutter | CUD2-SBML4W-AS004 | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-02 | PTW Command | PTW Command | DO | 11 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Services/Security |  | SEC_SHUT | DO | dioBMS-PTW | :R:A:CUD:SEC:SHUT0002 | <alias>CUDSECSHUT0002 | OCC_CUDSECSHUT0002 | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0002-PTW | 0 | 051/002/00004/2/000001 | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0002-PTW | DO | 0x0F | 34 | 0 | 1 | 51 | 002 | 4 | 2 | 1 |  | AS004
928 | A-7-0 | M | CUD | Shutter | CUD2-SBML4W-AS004 | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-02 | Close Command | Close Command | DO | 9 |  | Close |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Services/Security |  | SEC_SHUT | DO | dioBMS-CLSCOM | :R:A:CUD:SEC:SHUT0002 | <alias>CUDSECSHUT0002 | OCC_CUDSECSHUT0002 | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0002-CLSCOM | 0 | 051/002/00004/3/000001 | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0002-CLSCOM | DO | 0x0F | 35 | 0 | 1 | 51 | 002 | 4 | 3 | 1 | Y | AS004
931 | A-7-0 | M | CUD | Shutter | CUD2-SBML4W-AS004 | BMS | SEC | SHUT | Entrance Shutter | Entrance Shutter | Shutter-02 | Open Command | Open Command | DO | 10 |  | Open |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Services/Security |  | SEC_SHUT | DO | dioBMS-OPNCOM | :R:A:CUD:SEC:SHUT0002 | <alias>CUDSECSHUT0002 | OCC_CUDSECSHUT0002 | CUD_FEP | CUD_SEC | DEOV | deoCUDSECSHUT0002-OPNCOM | 0 | 051/002/00004/5/000001 | :R:A:POLE:CUD_FEP:CUD_SEC:deoSHUT0002-OPNCOM | DO | 0x0F | 37 | 0 | 1 | 51 | 002 | 4 | 5 | 1 | Y | AS004
945 | A-7-3 | M | CUD |  | CUD2-SBML4W-AS004 | BMS | TRA | VIEL | Viaduct Emergency Light | Viaduct Emergency Light | VEL-01 | PTW Command | PTW Command | DO | 8 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Railway/Trackside Light |  |  | TRA_VIEL | DO | dioBMS-PTW | :R:A:CUD:TRA:VIEL0001 | <alias>CUDTRAVIEL0001 | OCC_CUDTRAVIEL0001 | CUD_FEP | CUD_TRA | DEOV | deoCUDTRAVIEL0001-PTW | 0 | 051/002/00005/4/000001 | :R:A:POLE:CUD_FEP:CUD_TRA:deoVIEL0001-PTW | DO | 0x0F | 44 | 0 | 1 | 51 | 002 | 5 | 4 | 1 |  | AS004
957 | A-7-3 | M | CUD |  | CUD2-SBML4W-AS004 | BMS | TRA | VIEL | Viaduct Emergency Light | Viaduct Emergency Light | VEL-02 | PTW Command | PTW Command | DO | 8 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Railway/Trackside Light |  |  | TRA_VIEL | DO | dioBMS-PTW | :R:A:CUD:TRA:VIEL0002 | <alias>CUDTRAVIEL0002 | OCC_CUDTRAVIEL0002 | CUD_FEP | CUD_TRA | DEOV | deoCUDTRAVIEL0002-PTW | 0 | 051/002/00006/4/000001 | :R:A:POLE:CUD_FEP:CUD_TRA:deoVIEL0002-PTW | DO | 0x0F | 52 | 0 | 1 | 51 | 002 | 6 | 4 | 1 |  | AS004
974 | A-7-3 | M | CUD | Signalling Equipment Room (1303) | CUD1-SBML6P-AS005 | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-03 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_CRAC | DO | dioBMS-PTW | :R:A:CUD:ECS:CRAC0005 | <alias>CUDECSCRAC0005 | OCC_CUDECSCRAC0005 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0005-PTW | 0 | 052/002/00000/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0005-PTW | DO | 0x0F | 4 | 0 | 1 | 52 | 002 | 0 | 4 | 1 |  | AS005
995 | A-7-3 | M | CUD | Platform Edge Barrier Room (1413) | CUD1-SBML6P-AS005 | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-02 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_WAMU | DO | dioBMS-PTW | :R:A:CUD:ECS:WAMU0006 | <alias>CUDECSWAMU0006 | OCC_CUDECSWAMU0006 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0006-PTW | 0 | 052/002/00001/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0006-PTW | DO | 0x0F | 12 | 0 | 1 | 52 | 002 | 1 | 4 | 1 |  | AS005
1017 | A-7-3 | M | CUD | UPS Emergency Lighting (1417) | CUD1-SBML7E-AS006 | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-04 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAV | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAV0006 | <alias>CUDECSOSAV0006 | OCC_CUDECSOSAV0006 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0006-PTW | 0 | 053/002/00000/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0006-PTW | DO | 0x0F | 6 | 0 | 1 | 53 | 002 | 0 | 6 | 1 |  | AS006
1043 | A-7-3 | M | CUD | TER (1301) | CUD1-SBML7E-AS006 | BMS | ECS | CRAC | CRAC | CRAC | CRAC-PL-06 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_CRAC | DO | dioBMS-PTW | :R:A:CUD:ECS:CRAC0006 | <alias>CUDECSCRAC0006 | OCC_CUDECSCRAC0006 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSCRAC0006-PTW | 0 | 053/002/00001/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoCRAC0006-PTW | DO | 0x0F | 12 | 0 | 1 | 53 | 002 | 1 | 4 | 1 |  | AS006
1064 | A-7-3 | M | CUD | Common Telecom Equipment Room (1302) | CUD1-SBML7E-AS006 | BMS | ECS | WAMU | Wall Mounted Unit | Wall Mounted Unit | WMU-PL-04 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_WAMU | DO | dioBMS-PTW | :R:A:CUD:ECS:WAMU0007 | <alias>CUDECSWAMU0007 | OCC_CUDECSWAMU0007 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSWAMU0007-PTW | 0 | 053/002/00002/4/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoWAMU0007-PTW | DO | 0x0F | 20 | 0 | 1 | 53 | 002 | 2 | 4 | 1 |  | AS006
1086 | A-7-3 | M | CUD | Signalling Equipment Room (1116) | CUD1-SBML7E-AS006 | BMS | ECS | FCUC | FCU Cassette | FCU Cassette | FCU-CL-02 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=0),1,0) | dovBMS-CTLVAL1 | 1 | IF(([^:^:dciBMS-CCSPTWFB.validity]=1)AND([^:^:dciBMS-CCSPTWFB.value]=1),1,0) | CUD/ECS/Air Side/Station | CUD/ECS/Water Side | CUD/ECS/Eqt. Summary 2 | ECS_FCUC | DO | dioBMS-PTW | :R:A:CUD:ECS:FCUC0003 | <alias>CUDECSFCUC0003 | OCC_CUDECSFCUC0003 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSFCUC0003-PTW | 0 | 053/002/00003/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoFCUC0003-PTW | DO | 0x0F | 30 | 0 | 1 | 53 | 002 | 3 | 6 | 1 |  | AS006
1114 | A-7-3 | M | CUD | UPS Battery Room (1414) | CUD1-SBML7E-AS006 | BMS | ECS | OSAV | Outside Air Fan with VSD | Outside Air Fan | OAF-PL-02 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_OSAV | DO | dioBMS-PTW | :R:A:CUD:ECS:OSAV0007 | <alias>CUDECSOSAV0007 | OCC_CUDECSOSAV0007 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSOSAV0007-PTW | 0 | 053/002/00004/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoOSAV0007-PTW | DO | 0x0F | 38 | 0 | 1 | 53 | 002 | 4 | 6 | 1 |  | AS006
1139 | A-7-3 | M | CUD | Refuse Store (1127) | CUD1-SBML7E-AS006 | BMS | ECS | EXAF | Exhaust Air Fan | Exhaust Air Fan | EAF-CL-07 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAF | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAF0011 | <alias>CUDECSEXAF0011 | OCC_CUDECSEXAF0011 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAF0011-PTW | 0 | 053/002/00005/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAF0011-PTW | DO | 0x0F | 46 | 0 | 1 | 53 | 002 | 5 | 6 | 1 |  | AS006
1162 | A-7-3 | M | CUD | UPS Battery Room (1414) / UPS Emergency Lighting (1417) | CUD1-SBML7E-AS006 | BMS | ECS | EXAV | Exhaust Air Fan with VSD | Exhaust Air Fan | EAF-PL-03 | PTW Command | PTW Command | DO | 12 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/ECS/Air Side/Station | CUD/ECS/Eqt. Summary 1 |  | ECS_EXAV | DO | dioBMS-PTW | :R:A:CUD:ECS:EXAV0007 | <alias>CUDECSEXAV0007 | OCC_CUDECSEXAV0007 | CUD_FEP | CUD_ECS | DEOV | deoCUDECSEXAV0007-PTW | 0 | 053/002/00006/6/000001 | :R:A:POLE:CUD_FEP:CUD_ECS:deoEXAV0007-PTW | DO | 0x0F | 54 | 0 | 1 | 53 | 002 | 6 | 6 | 1 |  | AS006
1184 | A-7-0 | M | CUD | Lift System | CUD1-SBML7E-AS006 | BMS | LIF | LIFT | Lift | Lift | LFT-01 | Lift Homing Start | Lift Homing | DO | 12 |  | Home |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Lift | LIF_LIFT | DO | dioBMS-LIFHOMING | :R:A:CUD:LIF:LIFT0001 | <alias>CUDLIFLIFT0001 | OCC_CUDLIFLIFT0001 | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0001-LIFHOMING | 0 | 053/002/00007/2/000001 | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0001-LIFTSTT | DO | 0x0F | 58 | 0 | 1 | 53 | 002 | 7 | 2 | 1 | Y | AS006
1193 | A-7-3 | M | CUD | Lift System | CUD1-SBML7E-AS006 | BMS | LIF | LIFT | Lift | Lift | LFT-01 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Lift | LIF_LIFT | DO | dioBMS-PTW | :R:A:CUD:LIF:LIFT0001 | <alias>CUDLIFLIFT0001 | OCC_CUDLIFLIFT0001 | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0001-PTW | 0 | 053/002/00007/6/000001 | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0001-PTW | DO | 0x0F | 62 | 0 | 1 | 53 | 002 | 7 | 6 | 1 |  | AS006
1207 | A-7-0 | M | CUD | Lift System | CUD1-SBML7E-AS006 | BMS | LIF | LIFT | Lift | Lift | LFT-02 | Lift Homing Start | Lift Homing | DO | 12 |  | Home |  |  |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Lift | LIF_LIFT | DO | dioBMS-LIFHOMING | :R:A:CUD:LIF:LIFT0002 | <alias>CUDLIFLIFT0002 | OCC_CUDLIFLIFT0002 | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0002-LIFHOMING | 0 | 053/002/00008/2/000001 | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0002-LIFTSTT | DO | 0x0F | 66 | 0 | 1 | 53 | 002 | 8 | 2 | 1 | Y | AS006
1216 | A-7-3 | M | CUD | Lift System | CUD1-SBML7E-AS006 | BMS | LIF | LIFT | Lift | Lift | LFT-02 | PTW Command | PTW Command | DO | 13 | Off | On | dovBMS-CTLVAL0 | 0 |  | dovBMS-CTLVAL1 | 1 |  | CUD/Layout/Concourse Level | CUD/Layout/Platform Level | CUD/Services/Lift | LIF_LIFT | DO | dioBMS-PTW | :R:A:CUD:LIF:LIFT0002 | <alias>CUDLIFLIFT0002 | OCC_CUDLIFLIFT0002 | CUD_FEP | CUD_LIF | DEOV | deoCUDLIFLIFT0002-PTW | 0 | 053/002/00008/6/000001 | :R:A:POLE:CUD_FEP:CUD_LIF:deoLIFT0002-PTW | DO | 0x0F | 70 | 0 | 1 | 53 | 002 | 8 | 6 | 1 |  | AS006